5.  A rock specimen was analyzed for -quartz.  To correct for the unknown absorption of the specimen, an internal standard was used.  The internal standard was chosen as KCl because of its excellent crystallinity, relatively simple diffraction pattern, and a strong reflection which is relatively close to the strong -quartz reflection.

Three samples were measured:  pure KCl, pure quartz and a mixture of the rock specimen with KCl.  The mixture was prepared by intimately mixing 200 mg of finely ground KCl with 1000 mg of the rock, also finely ground.

The intensities of the 3.15 Å KCl reflection and the 3.34 Å quartz reflection were measured using CuK radiation.  The data are given below.

Phase	d (Å)	o	Pure compound	Mixture

quartz	3.34	35.0	48360 cps	2648 cps

KCl		3.15	124.0	19072	6160

For all intensities, the background was 240 cps.  The dead time for the counting system was 1.0 sec.

The correction for the dead time, , makes use of the following equation:

true counts/sec =

Calculate the concentration of quartz in the rock specimen.

Note that:

where:

I  and Ia are the intensities for the pure compound and the mixture for phase a, respectively.

and  are the mass attenuation coefficients for the pure compound and the mixture, respectively.

X is the weight fraction of phase  in the mixture.

An equation of this type can be written for both quartz and KCl.  Combining these two equations to eliminate , the unknown mass attenuation coefficient for the mixture:

Xq = XKCl

First calculate the weight fraction Xq of quartz in the diluted specimen.  Then, from the value of Xq and the dilution factor, calculate the weight fraction of quartz in the original mixture.

6.  MoB is I41/amd with a = 3.110, c = 16.95 Å, and Mo and B atoms in 8e, z = 0.196 and 0.352, respectively.

Calculate F001 and F004.

F001 = __0____I centered – (001) is extinct

Fhkl = fj exp(2πi(hxj + kyj + lzj)).

N/2

F004 = 2 ( fj exp(2πi(4zj))     since I centered

1

What must be calculated?

ƒMo and ƒB

d004 = ___ c/4 = 16.95/4 = 4.2375  ____

(sin )/ = ____1/(2d) = 0.1180____

0.1       0.2

Mo	38.2	32.6

B	  3.5	  2.4

ƒMo = __37.2_____

ƒB = ___3.4____

8e:  (00z)  (0,,+z)  (,0,-z)  (,,-z)

F004 = 2 (37.2 (exp(2πi  x 4 x 0.196) + exp(2πi  x 4 x 0.196) +

exp(-2πi  x 4 x 0.196) + exp(-2πi  x 4 x 0.196))) +

3.4 (exp(2πi  x 4 x 0.352) + exp(2πi  x 4 x 0.352) +

exp(-2πi  x 4 x 0.352) + exp(-2πi  x 4 x 0.352)))

= 8 (37.2 cos(8π x 0.196) + 3.4 cos(8π x 0.352))

= 8 ((37.2 x 0.333) - (3.4 x 0.598)) = 82.78

7.   -Np is P4212 with a = 4.897, c = 3.388 Å, and Np in 2a ((000) and (0)) and 2c ((0z) and (0)), z = 0.375.  Find I101 for CuK radiation.  Ignore scale factor, absorption and temperature factor.

ƒ calculation:

(sin )/ = 1/(2 x 2.786) = 0.1795

ƒ = 87 – 9 x 0.795 = 79.84

(sin )/	0.0	0.1	0.2	0.3	0.4	0.5	0.6	0.7

ƒ			93	87	78	69	60	53	48	44

F calculation:

F101 = 79.84 ( 1 + eπi + e0.75πi + eπi (1 – 0.75))

F101 = 79.84 (e0.75πi + eπi (0.25))

F101 = 79.84 (cos 0.75π + i sin 0.75π + cos 0.25π + i sin 0.25π)

F101 = 79.84 x 1.414 i = 112.89 i

What is p?

8

(101) (011) (-101) (10-1) (-10-1) (0-11) (01-1) (0-1-1)

LP calculation:

q = 16.07°

LP = (1 + cos22q)/(sin2q cosq) = 1.717/(0.0766 x 0.961) = 23.32

I calculation:

I = 8 x 23.32 x 112.892 = 2.38 x 106

# Text boxes

4.897

3.388

d=2.786